## Sheet1
Supplementary Table 1. Microscopy methods, imaging parameters and image processing workflow for all microscopy data presented in the manuscript.
Image reference |  |  |  | Imaging parameters | [16 empty] | Image processing (¹) |  |  |  | Notes
Fig | Panel | Label | Content | Technique | Microscope |  | Objective lens | Pixel | z-step | z-range | Detector | Gain | Pinhole | tdwell | Avg | Light | λEX | plaser | plaser (²) | filterEM | Depth/bleach | Gamma | Denoise (³) | Deconvolution
[5 empty] | Maker | Platform |  | size (nm) | (µm) | (µm) |  |  | (AU) | (µs) |  | source | (nm) | (%) | (µW) | (nm) | correct
2 | a | Rhobo6 | ECM substrates | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 91 | - | - | GaAsP-PMT | 600 V | 0.98 | 0.6 | 2 | Diode | 561 | 2-5 | 35-87.5 | 554-643 | - | 1 | No | No
|  |  | Collagen type IV coating |  |  |  | PLAN-APOCHROMAT 10x/0.45 | 312 | - | - | GaAsP-PMT | 500 V | 1 | 0.52 | 4 | Diode | 561 | 0.2 | 6 | 575-700 | - | 1 | No | No
| c-d | Rhobo6 | Spectral imaging on collagen I gel | LSC (excitation scan) | Leica | Stellaris8 | HC PL APO CS2 63x/1.40 OIL | 30 | - | - | HyD X | 10 | 1 | 0.425 | 1 | WLL 85% | 500-566 | 7 | 12.6 | 575-630 | - | 1 | No | No | Excitation scan, 2 nm step
| e | Rhobo6 1 µM | Collagen-I binding | LSC | Zeiss | LSM800 | EC PLAN-NEOFLUAR 40x/1.30 OIL | 156 | - | - | GaAsP-PMT | 680 V | 0.97 | 2.06 | 1 | Diode | 561 | 1.5 | 26 | 554-643 | No | 1 | No | No | 3 h timecourse at 1 frame per minute
|  | Rhobo6 5 µM | [8 empty] | GaAsP-PMT | 650 V | 0.97 | 1.03 | 1 | Diode | 561 | 1.5 | 26 | 575-630
|  | Rhobo6 25 µM | [8 empty] | GaAsP-PMT | 600 V | 0.97 | 0.52 | 1 | Diode | 561 | 0.5 | 8.7 | 575-630
|  | Rhobo6 50 µM | [8 empty] | GaAsP-PMT | 600 V | 0.97 | 0.76 | 1 | Diode | 561 | 0.4 | 7 | 554-643
| g | 1 - GFP | MCF10A-muc1-GFP +/- mucinase | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 130 | - | - | GaAsP-PMT | 505 V | 0.98 | 1.03 | 2 | Diode | 488 | 0.1 | 1.9 | 410-546 | - | 1 | No | No
|  | 2 - Rhobo6 | [8 empty] | GaAsP-PMT | 635 V | 1.04 |  |  | Diode | 561 | 5 | 87.5 | 580-650
| h | Rhobo6 | FLIM on MCF10A-muc1-GFP | FLIM | Abberior | FacilityLine | UPLXAPO 60X OIL | 80 | - | - | APD | - | 0.71 | 15 | 5 | Diode | 561 | 30 | 2 | 573-683 | - | 1 | No | No | FLIM measured with 250 bins at 100ps
3 | c | 1 - 6-CarboxyRhod 110 | Embryonic salivary gland, Rhobo vs 6-CarboxyRhodamine110 | LSC | Zeiss | LSM800 | PLAN-APOCHROMAT 63x/1.4 OIL | 50 | - | - | GaAsP-PMT | 500 V | 1 | 0.52 | 4 | Diode | 488 | 0.5 | 6 | 400-515 | - | 1 | Yes | No
|  | 2 - Rhobo6 | [8 empty] | GaAsP-PMT | 650 V |  |  |  | Diode | 561 | 5 | 50 | 575-700
| d | 1 - CNA35-GFP | Embryonic salivary gland, Rhobo vs ECM protein labels | LSC | Zeiss | LSM800 | PLAN-APOCHROMAT 10x/0.45 | 624 | 4.08 | 36.7-73.4 | GaAsP-PMT | 505 V | 0.98 | 4.12 | 2 | Diode | 488 | 0.1 | 3.6 | 410-546 | - | 1 | Yes | No
|  | 2 - Rhobo6 | [8 empty] | GaAsP-PMT | 575-635 V | 1 | 1.03-4.12 | 2-4 | Diode | 561 | 4-5 | 120-151 | 580-700
|  | 3 - Atto647N antibodies | [8 empty] | GaAsP-PMT | 650 V | 0.95 | 1.03 | 4 | Diode | 640 | 2.5-5 | 50-100 | 650-700
| e | 1 - Hoechst | Adult mouse pancreatic tissue, ECM and nuclear label | LSC | Leica | SP8 | HC PL APO 86x/1.20 WATER | 104 | 0.75 | 23.25 | HyD | 150 | 1 | 0.7625 | 2 | Diode | 405 | 2 | 3.8 | 410-480 | No | 1 | Yes | No | Max intensity projection
|  | 2 - Rhobo6 | [8 empty] | HyD | 130 | 1 | 0.7625 | 2 | WLL 70% | 557 | 2 | 1.6 | 575-610
| f | 1 - Anti-col1-Atto647N | Adult mouse pancreatic tissue, Rhobo6 vs anti-col1 antibody | LSC | Leica | SP8 | HC PL APO 86x/1.20 WATER | 48 | 0.27 | 100.1 | HyD | 169.6 | 1 | 0.35 | 3 | WLL 70% | 646 | 19 | 11 | 660-780 | No | 1 | No | No | 3D render realized in Leica LasX software
|  | 2 - Rhobo6 | [8 empty] | HyD | 127.6 | 1 | 0.35 | 3 |  | 560 | 5.6 | 3.5 | 575-610
4 | b-c | Rhobo6 | 2-photon images of ECM in various mouse tissues | 2P | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 142 | - | - | HyD NDD | 10 | 1 | 0.3 | 4 | X3+ | 800 | 0.7-1.7 | 2.9-6.2 ·103 | 575-630 | - | 0.7 | No | No | Average power reported for ~120 fs pulse at 80 MHz rate
| d | Rhobo6 | 3D volumes of ECM labeled in mouse tissue | 2P | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 71 | 0.3 | 50.4-51.3 | HyD NDD | 10 | 1 | 0.6 | 4 | X3+ | 800 | 1.6-3 | 6-11.3 ·103 | 575-630 | Yes* | 0.7-1 | Yes | 3D R-L | (*) Brain blood vessel was not depth corrected. Average power reported for ~120 fs pulse at 80 MHz rate
5 | a-b | 1 - Venus | 4T1 spheroids invasion assay | 2P | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 569 | 1.5 | 162 | HyD NDD | 100 | Fully open | 1.2 | 2 | NX | 1040 | 3.5 |  | 475-512 | No* | 1 | Yes | No | Timecourse of 48 h with 1 h temporal resolution under 37 °C and 5% CO2 incubation. (*) Correction applied only to generate Supplementary Video 5
|  | 2 - Rhobo6 | [8 empty] | HyD NDD | 10 |  |  |  | NX | 800 | 1 |  | 575-650
| e-f | Rhobo6 | Intravital imaging of ECM in wild type and tumor bearing mice | 2P | Nikon | A1R MP | APO LWD 25x 1.10W DIC N2 | 500 | 2-5 | 22-90 | NDD | 100-150 V | Fully open | 7.6-15.4 | 1 | MaiTai | 800 | 15-18 | - | 550-600 | No | 0.5-1 | Yes | No
Extended Data
ED1 | a | Rhobo | Rhobo vs Rhobo6 cell permeability | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 109 | - | - | GaAsP-PMT | 525 V | 1.26 | 0.87 | 2 | Diode | 488 | 1.5 | 30 | 400-575 | No | 1 | No | No
| a | Rhobo6
ED2 | a | Rhobo6 | Glycan array | LSC | Leica | Stellaris8 | HC PLAN APO 10x/0.40 | 2270 | - | - | HyD X | 150 | 1 | 7.69 | 4 | WLL 100% | 561 | 5 | 5 | 575-650 | - | 1 | No | No
ED3 | a | Rhobo6 | ECM substrated treated with sodium periodate/chondroitinase | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 91 | - | - | GaAsP-PMT | 600 V | 0.98 | 0.6 | 2 | Diode | 561 | 2-5 | 35-87.5 | 554-643 | - | 1 | No | No
|  | Rhobo6 | Laminin isoforms 111LN and 521LN | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 91 | - | - | GaAsP-PMT | 600 V | 0.98 | 0.6 | 2 | Diode | 561 | 2-5 | 35-87.5 | 554-643 | - | 1 | No | No
| b-c | Rhobo6 | Bleach test on aggrecan coating | LSC | Zeiss | LSM800 | EC PLAN-NEOFLUAR 40x/1.30 OIL | 624 | - | - | GaAsP-PMT | 550 V | 0.97 | 1.52 | 1 | Diode | 561 | 2.5 | 37 | 575-630 | No | 1 | No | No
| d | 1 - GFP | Buffer and fixation effect on Rhobo6 labeling | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 130 | - | - | GaAsP-PMT | 505 V | 0.98 | 4.12 | 2 | Diode | 488 | 0.1 | 1.9 | 410-546 | - | 1 | No | No
|  | 2 - Rhobo6 | [8 empty] | GaAsP-PMT | 635 V | 1.04 | 4.12 | 2 | Diode | 561 | 5 | 87.5 | 580-650
|  | 2 - Rhobo6 (low power) | [8 empty] | GaAsP-PMT | 575 V | 1.04 | 4.12 | 2 | Diode | 561 | 1 | 17.5 | 580-650
ED4 | a | - | Salivary gland viability | Phase contrast | Echo | Revolve | 10x PLAN FLUORITE 0.3NA | 504 | - | - | CMOS cam | - | - | - | 1 | - | - | - | - | n.a. | - | 1 | No | -
| b-c | Rhobo6 | Raw vs denoised image | LSC | Zeiss | LSM800 | PLAN-APOCHROMAT 63x/1.4 OIL | 50 | - | - | GaAsP-PMT | 650 V | 1 | 0.52 | 4 | Diode | 561 | 5 | 50 | 575-700 | - | 1 | Yes (*) | No | (*) Both denoised and original images are shown.
| d-e | 1 - Hoechst | Rhobo vs Rhobo6, colocalization with Hoechst and NucSpot650 and reversibility | LSC | Zeiss | LSM800 | PLAN-APOCHROMAT 20x/0.8 | 106 | 1 | 37-75 | GaAsP-PMT | 650 V | 1 | 0.35 | 2 | Diode | 405 | 1 | 12 | 410-492 | - | 1 | No | No
|  | 2 - NucSpot650 | [8 empty] | GaAsP-PMT | 550 V |  |  |  | Diode | 640 | 3 | 57.5 | 656-700
|  | 3 - Rhobo OR | [8 empty] | GaAsP-PMT | 550 V | 0.97 |  |  | Diode | 561 | 3.5 | 103 | 492-630
3 - Rhobo6
| f | Rhobo6 | SMG in media with and without FBS | LSC | Leica | Stellaris8 | HC PL APO CS2 40x/1.10 WATER | 95 | 1 | 35-50 | HyD X | 25 | 1 | 0.25 | 4 | WLL 85% | 561 | 2 |  | 570-650 | No | 1 | Yes | No
ED5 | b | Rhobo6 | Rhobo6 diffusion in muscle tissue | 2P | Leica | Stellaris8 | HC FLUOTAR L VISIR 25x/0.95 WATER | 364 | - | - | HyD NDD | 50 | Fully open | 0.037 | 2 | NX | 800 | 3 |  | 575-650 | - | 1 | No | No
| c | 1 - Hoechst | Decellularized tissues | LSC | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 97 | 3 | 105-165 | HyD S | 50 | 1 | 0.2 | 1 | Diode | 405 | 4 |  | 415-500 | No | 1 | No | No
|  | 2 - Rhobo6 | [8 empty] | HyD X | 25 |  |  |  | WLL 85% | 561 | 7 |  | 575-650
| d-f | 1 - Rhobo6 confocal | STED on adult pancreatic tissue | LSC | Leica | SP8 | HC PL APO 86x/1.20 WATER | 34 | - | - | HyD | 200 | 1 | 0.41 | 3 | WLL 70% | 561 | 2.5 | 1.8 | 575-630 | No | 1 | Yes | No
|  | 2 - Rhobo6 STED |  | STED | [6 empty] | HyD | 200 | 1 | 0.41 | 8 | WLL 70% | 561 | 25 | 15 | 575-640 | No | 1 | Yes | No
[16 empty] | CW 660 | 660 | 100 | 48 ·103
ED6 | a | Rhobo6 | Fly brain, full organ volume | LSC | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 95 | 1 | 88 | HyD X | 35 | 1 | 0.25 | 2 | WLL 85% | 561 | 10 | 18.1 | 575-630 | Yes | 1 | Yes | 3D R-L
| b | 1 - Neuron-GFP | Fly brain Rhobo6 colocalized with neuron-expressed GFP | LSC | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 95 | 1 | 84 | HyD X | 70 | 1 | 0.25 | 2 | WLL 85% | 488 | 5 | 4.3 | 495-525 | Yes | 1 | Yes | 3D R-L | Mean intensity projection
|  | 2 - Rhobo6 |  | LSC | [6 empty] | HyD X | 35 | 1 | 0.25 | 2 | WLL 85% | 561 | 10 | 18.1 | 575-630 |  | 0.7
| c | Rhobo6 vs control | Worm - full animal | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 96 | - | - | GaAsP-PMT | 685 V | 1.05 | 0.76 | 2 | Diode | 561 | 5 | 87.5 | 575-700 | - | 1 | No | No
| d | 1 - Nid-1-mNeonGreen | Worm - oviduct region | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 77-96 | 0.51 | 10.2-16.83 | GaAsP-PMT | 675 V | 1.24 | 4.45-5.49 | 2 | Diode | 488 | 1.5 | 30 | 400-525 | No | 1 | Yes | No | Max intensity projection
|  | 2 - Rhobo6 | [8 empty] | GaAsP-PMT | 685 V | 1.05 |  |  | Diode | 561 | 5 | 87.5 | 575-700
| e | Rhobo6 | Zebrafish wound healing timelapse | Spinning disk confocal | Nikon | CSW-1 | PLAN APO λ 20x/0.75 | 330 | 4 | 148 | Orca Fusion | - | 50 µM (disk) | 1.84 · 105 | 1 | Diode | 561 | 4 | 170 | 565 LP | No | 1 | No | No | Dwell time refers to camera exposure time. Acquisition was a time course with 5 min temporal resolution. Max intensity projection of z-stack is shown.
| f | Rhobo6 | Arabidopsis thaliana root | LSC | Zeiss | LSM800 | C-APOCHROMAT 40x/1.2 W KORR | 130 | 1 | 72 | GaAsP-PMT | 575 V | 1.03 | 0.38 | 2 | Diode | 561 | 10 | 169 | 575-700 | No | 1 | No | No | Max intensity projection
ED7 | a-c | 1 - SHG | Low light dosage, Rhobo6 vs SHG vs TPEF | SHG | Leica | Stellaris8 | HC PL IRAPO 40x/1.10 WATER | 142 | - | - | HyD NDD | 10 | Fully open | 0.3 | 3 | X3+ | 800 | 0.5-1.5 | 1.9-5.7 ·103 | 390-410 | - | 1 | No | No
|  | 2 - Rhobo6 |  | 2P | [15 empty] | 575-630
|  | 3 - 2p Autofluorescence |  | 2P (autofluorescence) | [15 empty] | 490-540
| a-c | 1 - SHG | High light dosage, Rhobo6 vs SHG vs TPEF | SHG | [7 empty] | 400 | Fully open | 1.0375 | 4 | X3+ | 800 | 5 | 19 ·103 | 390-410 | - | 1 | No | No
|  | 2 - 2p Autofluorescence |  | 2P (autofluorescence) | [15 empty] | 490-540
ED8 | a-b | - | 4T1 spheroids invasion potential | Phase contrast | Echo | Revolve | 10x PLAN FLUORITE 0.3NA | 504 | - | - | CMOS cam | - | - | - | 1 | - | - | - | - | n.a. | - | 1 | No | -
| c | 1 - DAPI | Immunostaining of mammary gland from wild type and tumor bearing mice | Spinning disk confocal | Nikon | CSW-1 | PLAN APO λ 20x/0.75 | 320 | 0.9 | 2.7-10.8 | Orca Fusion | - | 50 µM (disk) | 4 · 105 | 1 | Diode | 405 | - | - | 417-477 | No | 1 | No | No | Dwell time refers to camera exposure time
|  | 2 - CNA35-GFP | [11 empty] | 3 · 105 | 1 | Diode | 488 |  |  | 500-550
|  | 3 - Phalloidin red | [11 empty] | 4-6 · 105 | 1 | Diode | 640 |  |  | 647 LP
Legend |  | Technique / Instrument |  | Acronym |  |  | Note:
|  | Laser Scanning Confocal Microscopy |  | LSC |  |  | 1. Unless noted otherwise, image processing was performed in Fiji/ImageJ (National Institute of Health, USA).
|  | Fluorescence Lifetime Microscopy |  | FLIM |  |  | 2. Laser power was measured at sample plane with a power meter (PM400, Thorlabs) paired with a photodiode sensor (S121C, Thorlabs)
|  | Stimulated Emission Depletion Microscopy |  | STED |  |  | 3. Denoising was performed with Nikon NIS Elements AI denoise software
|  | Two-Photon Excitation Fluorescence Microscopy |  | 2P
|  | Second Harmonic Generation Microscopy |  | SHG
|  | Richardson-Lucy deconvolution algorithm |  | R-L
|  | White light laser set at X% of its max power |  | WLL X%
|  | SpectraPhysics Insight X3+ femtosecond laser |  | X3+
|  | SpectraPhysics MaiTai DeepSee femtosecond laser |  | MaiTai
|  | Chameleon Discovery NX femtosecond laser |  | NX
|  | STED depletion continous wave laser 660nm |  | CW 660
|  | Photomultiplier tube |  | PMT
|  | Avalanche Photodiode |  | APD
|  | Non-descanned detector |  | NDD